## Slide 1: AquaDopp Kelp Forest Dye Release Lander Experiment
Jason Rooker
Dr. Derek Grimes
Summer 2025

## Slide 2: Experiment Setup: Santa Barbara County, CA

## Slide 3: Release 1 Raw AquaDopp Data

## Slide 4: Velocity Wrapped Data
Measured Velocities:
  Where c = sound speed F = pulse frequency = 2L/c = pulse distance
  (Wrapping occurs when phase shift () exceeds )
Maximum Velocity Range:

## Slide 5: Mean-Filtering for Detecting Suspected Wrapped Velocities
Where:
z = bins
t = time
= 1D median filter with window size 150 (s)
Source: Shcherbina et al 2018

## Slide 6: Using Integer Linear Least Squares Minimization Problem to Correct Phase Wrapped Points
Where:
D = finite difference operator
E = selection matrix for suspect points
= calculated ambiguity velocity
Source: Shcherbina et al 2018

## Slide 7: Corrected Data

## Slide 8: Frequency Distribution: Raw Vs. Unwrapped
Raw Beam 1 Velocity
Unwrapped Beam 1 Velocity

## Slide 9: Sources
Shcherbina, A. Y., D’Asaro, E. A., & Nylund, S. (2018). Observing finescale oceanic velocity structure with an autonomous Nortek acoustic Doppler current profiler. Journal of Atmospheric and Oceanic Technology, 35(2), 411–427. https://doi.org/10.1175/JTECH-D-17-0108.1